## Slide 1
NETDATA
Real-Time Infrastructure Monitoring
A deep dive into setup, daily use, the storage trade-off, and getting real value out of the tool already running on our servers.
R&D SESSION · INTERNAL TOOLING REVIEW

## Slide 2
AGENDA
What we'll cover today
What Netdata Is
Architecture, agent model, and why it's already on our fleet
Setup & Install
One-line install, claiming nodes, key config files
Using the Dashboard
Where the valuable signal actually lives, section by section
Anomaly Detection & AI
How Netdata flags problems before we go looking
Advantages
What it genuinely does better than the alternatives
Drawbacks — incl. Storage
The disk-usage issue we've already hit, honestly assessed
Acting on the Data
Alerts, notifications, and a real incident workflow
Free vs. Paid
Community plan vs. Business plan, feature by feature
NETDATA · R&D SESSION
2

## Slide 3
01 · OVERVIEW
What is Netdata?
An open-source monitoring agent that installs on a server and immediately starts collecting, storing, and visualizing thousands of metrics — no dashboards to build, no queries to write.
Zero-configuration
Auto-detects 800+ services, containers and hardware the moment it starts.
Per-second granularity
Metrics collected and rendered at 1-second resolution, not 5-minute averages.
Runs where it watches
Data is collected and stored locally on each node — nothing leaves the server by default.
Instant dashboard
A full web UI is live on port 19999 within seconds of install, no separate DB or Grafana needed.
WHY IT'S ON OUR SERVERS
1s
metric resolution, live
800+
built-in collectors & integrations
<5%
typical CPU overhead per node
0
extra software to query the data
NETDATA · R&D SESSION
3

## Slide 4
01 · OVERVIEW
How it fits together
Each server runs its own independent agent. Netdata Cloud is only a viewing and alert-routing layer — the metrics themselves stay local unless you choose to stream them onward.
Web Server
netdata agent
DB Server
netdata agent
Container Host
netdata agent
Netdata Cloud
Central view, alert routing & AI — free or paid
Each node also serves its own local dashboard directly at http://<server-ip>:19999 — no Cloud account required.
NETDATA · R&D SESSION
4

## Slide 5
02 · SETUP
Installing & connecting a node
1
One-line install
Run the official kickstart script as root/sudo on the target server:
wget -O /tmp/netdata-kickstart.sh https://get.netdata.cloud/kickstart.sh
sh /tmp/netdata-kickstart.sh
2
Verify locally
Confirm the agent is running and the local dashboard responds:
systemctl status netdata
curl http://localhost:19999/api/v1/info
3
Claim to Netdata Cloud
From Cloud, generate a claim token, then register the node so it shows up alongside the rest of the fleet:
netdata-claim.sh -token=<CLAIM_TOKEN> -rooms=<ROOM_ID> -url=https://app.netdata.cloud
4
Tune the config
Edit the main config, then restart the service to apply changes:
cd /etc/netdata && ./edit-config netdata.conf
systemctl restart netdata
NETDATA · R&D SESSION
5

## Slide 6
03 · USING IT DAILY
Finding your way around the dashboard
Every node's dashboard follows the same layout: a top summary bar, and a long left-hand menu broken into auto-generated sections — one per subsystem or application Netdata detected.
your-server:19999
Home
System Overview
CPU
Memory
Disks
Network
Applications
Containers
Users
Alarms
System Overview
cpu · system
system.ram
disk · i/o
net · eth0
NETDATA · R&D SESSION
6

## Slide 7
03 · USING IT DAILY
Where the valuable information actually lives
System Overview
Load average, CPU, RAM & swap at a glance
First stop for "is this server generally healthy right now".
Applications (apps.plugin)
CPU/RAM/disk I/O broken down per process & user
Answers "which process is actually eating this resource", not just the total.
Containers / cgroups
Per-container CPU, memory & network, Docker & Kubernetes aware
Essential once anything is containerized — isolates noisy-neighbor issues.
Network
Per-interface throughput, packet drops, errors, retransmits
Where you catch saturated links or a NIC silently dropping packets.
Disks
Per-device I/O, utilization, space, and — critically — Netdata's own DB usage
Where you'll spot the storage growth we've already run into.
Alarms tab
Every active/raised health alarm across the whole node
The single place to check before assuming "everything's fine".
NETDATA · R&D SESSION
7

## Slide 8
03 · USING IT DAILY
Anomaly detection: the signal above the noise
Every metric on every node is scored by an unsupervised ML model running locally, with no setup required. This is what turns Netdata from "a lot of graphs" into something that actually points at the problem.
Anomaly Rate ribbon
A heatmap strip above every chart shows the % of metrics behaving abnormally at that moment — scan it before reading a single number.
Metric Correlations
Pick a time window where something looked wrong; Netdata Cloud ranks every metric across every node by how much it changed in that window.
AI Co-SRE / root-cause
A conversational assistant (Business plan) summarizes probable root cause from the anomalies and alerts around an incident.
NETDATA · R&D SESSION
8

## Slide 9
04 · ADVANTAGES
What Netdata genuinely does well
Zero-config, fast to value
Auto-discovers services & hardware; useful within minutes of install, no manual dashboard-building.
True per-second resolution
Most APM tools sample every 10–60s. Netdata catches short spikes that others simply average away.
Very low overhead
Written in C; typically a few % CPU and modest RAM per node — safe to run everywhere, not just "important" servers.
800+ collectors out of the box
Databases, web servers, containers, message queues, hardware sensors — almost nothing needs a custom exporter.
Built-in ML anomaly detection
No external tooling needed to get per-metric anomaly scoring; included even on the free tier.
No per-GB ingestion cost
Unlike most SaaS APMs, Netdata doesn't charge by data volume — pricing is per node, not per metric or per GB.
NETDATA · R&D SESSION
9

## Slide 10
05 · DRAWBACKS
Where it falls short — including our storage issue
Disk / storage growth (dbengine)
This is the drawback we've already hit in production.
Netdata stores per-second history for every metric on every node locally, by default. On busy hosts with many charts (containers, many disks, many apps) this steadily consumes disk — it's the single biggest complaint about running it fleet-wide.
It's very manageable once tuned (see next section) — but it is not "install and forget" for storage.
Free tier limits on Cloud
Fewer user roles, shorter alert/event history (~90 days), fewer notification integrations than Business.
Alert noise if untuned
Default health templates are broad; without tuning thresholds, teams can get alert fatigue fast.
Community-only support
The free Community plan has no SLA — support is community/documentation-based, not a vendor ticket.
Steep breadth, some depth cost
800+ collectors means huge coverage, but very deep, custom business-logic dashboards still need Grafana/PromQL-style tuning.
NETDATA · R&D SESSION
10

## Slide 11
05 · DRAWBACKS
Taming disk usage: practical config changes
All of these live in /etc/netdata/netdata.conf (use ./edit-config from that directory) and take effect after a restart.
Use tiered retention on purpose
Netdata keeps 3 storage tiers by default: per-second (short), per-minute, per-hour (long). Shrink [db].dbengine tier 0 retention (e.g. 3–7 days) since that's the expensive, high-resolution tier — the coarser tiers keep long history cheaply.
Cap dbengine disk space directly
Set [db].dbengine multihost disk space MB to a hard ceiling per node instead of letting it grow unbounded — Netdata will rotate old data out once it's hit.
Trim what's collected
Disable collectors/charts you don't need in go.d.conf / python.d.conf (e.g. unused app plugins on generic hosts) — fewer charts means less written to disk, not just a lighter UI.
Centralize with a parent node
For container-heavy or ephemeral hosts, stream metrics to one "parent" Netdata node instead of storing full history on every child — keeps retention in one place you can size properly.
NETDATA · R&D SESSION
11

## Slide 12
06 · ACTING ON IT
From a chart to a fixed problem
Dashboards are only useful if they change what we do next. Netdata's alerting is what closes that loop.
Detect
Built-in health.d templates fire on sane defaults (CPU, RAM, disk, load, service down) — no rules to write on day one.
Customize thresholds
Edit or add .conf files under health.d/ per-chart, e.g. raise disk-space warning from 80% → 90% for a known-large log volume.
Route notifications
Wire up Slack, email, PagerDuty, Opsgenie or a generic webhook in health_alarm_notify.conf, or centrally via Netdata Cloud.
Correlate & find root cause
When an alert fires, jump into Metric Correlations / the Anomaly Rate ribbon to see what else moved in that window across the fleet.
Remediate & document
Fix the underlying cause, then tune the alarm or retention setting that let it surprise us, so the same page doesn't repeat.
NETDATA · R&D SESSION
12

## Slide 13
07 · FREE VS. PAID
Community (free) vs. Business plan
The core agent — collection, per-second local storage, the dashboard, and health alarms — is fully open-source and free forever on every node. Netdata Cloud adds a paid tier on top for teams.
Community — Free
$0 / node / month, forever
•
Full open-source agent on unlimited nodes
•
Per-second metrics, local unlimited-node dashboards
•
Built-in ML anomaly detection
•
Health alarms + a few notification methods
•
Up to 5 nodes on Netdata Cloud (centralized view)
•
~90 days of alert/event history on Cloud
•
Community & documentation support only
Business — Paid
~$4.50 / node / month (billed annually)
•
Everything in Community, unlimited nodes on Cloud
•
Unlimited seats & full role-based access control
•
Unlimited alert/event history & audit logs
•
All notification integrations (Slack, PagerDuty, Opsgenie...)
•
Metric Correlations & AI Co-SRE root-cause assistant
•
Metrics still stored on-prem — Cloud is control-plane only
•
Priority vendor support & SLA
Pricing is per active node, not per GB or per user — but always confirm current rates on netdata.cloud/pricing before budgeting.
NETDATA · R&D SESSION
13

## Slide 14
08 · HOW IT COMPARES
Netdata vs. Prometheus + Grafana
Different tools for different jobs. Prometheus + Grafana is a build-your-own stack; Netdata is a batteries-included agent. Many teams use Netdata for instant per-node visibility and Prometheus/Grafana for long-term, cross-team dashboards — they're not mutually exclusive.
Netdata
Agent + built-in dashboard
SETUP
Zero-config, live in minutes
MODEL
Agent-based, per node
RESOLUTION
Per-second, out of the box
STORAGE
Local dbengine per node
DASHBOARDS
Auto-built, less customizable
BEST FOR
Instant node-level troubleshooting
Prometheus
Metrics collection & storage
SETUP
Manual: exporters + scrape config
MODEL
Pull-based central server
RESOLUTION
Configurable, commonly 15–60s
STORAGE
Central TSDB, built for long retention
DASHBOARDS
None — needs Grafana or similar
BEST FOR
Centralized querying (PromQL) at scale
Grafana
Visualization layer
SETUP
Connect to an existing data source
MODEL
Reads from Prometheus, Netdata & others
RESOLUTION
Whatever the data source provides
STORAGE
None — it's not a metrics store
DASHBOARDS
Highly customizable, cross-source
BEST FOR
Company-wide, tailored dashboards
NETDATA · R&D SESSION
14

## Slide 15
09 · RECOMMENDATIONS
What we should do next
Fix the storage issue this sprint
Set a dbengine disk-space cap and shorten tier-0 retention on our noisiest hosts — the change from the drawbacks section, applied fleet-wide.
Consider a parent/child topology
Stream container-heavy and ephemeral hosts into one sized parent node instead of storing full history everywhere.
Tune alarms before we scale further
Review health.d defaults against our real thresholds now, so alert volume doesn't get worse as we add nodes.
Trial Business on critical nodes only
Use a 14-day Business trial on production-critical servers to evaluate Metric Correlations and AI root-cause before any wider purchase.
NETDATA · R&D SESSION
15

## Slide 16
KEY TAKEAWAYS
Netdata earns its place — once we manage its disk footprint
Real-time, per-second, zero-config visibility across the whole fleet — free, forever, per node.
The dashboard's value is concentrated in a few sections: System Overview, Applications, Disks, and Alarms.
The storage growth we've seen is real, well-documented, and fixable with a few config changes, not a reason to drop the tool.
Alerts + Metric Correlations turn the dashboard from "nice graphs" into an actual incident-response workflow.
Business plan is worth trialing selectively for AI root-cause and longer history — not a blanket upgrade.
Questions & Discussion
NETDATA · R&D SESSION
16